## Info
Center Denmark has created the following data file in relation to Green Innovation Makers data challenge: "How can we provide water for electrolysis?"
The following data file consist of 5 different sheets:
1. Water Consumption
2. Water Extraction
3. Energy Usage in Purification
4. Data_hourly_water_consumption
5. Data_daily_water_consumption
1. Consuption
The sheet contains information in relation to consumption of water in the Triangle Area of Denmark.
Consumption overview:
General data regarding the consumption of water in Denmark, including:
- Average consumption pr. Household
- Information about how the water is used
Conspumption profiles:
Two consumption profiles:
1. Daily conspumtion profile
2. Aggregated yearly profile
2. Extraction
The sheet contains information in relation to waterextraction in Denmark and Skive
3. Purification
The sheet contains information in relation to the energy usage in the purification proces divided into:
1. Lower Bound
2. Upper Bound
4. Data_hourly_water_consumption
The sheet contains the data on which the hourly consumption file is calculated.
5. Data_daily_water_consumption
The sheet contains the data on which the yearly consumption file is calculated.

## 1. Water Consumption
Consumption overview
General overview
- Average consumption per household | 101 | litres/day | Source: https://brunata.dk/losninger/vandregnskab/vandforbrug-i-hjemmet/
| 0.101 | m3/day
- What is the water used for? |  |  | Source: https://brunata.dk/losninger/vandregnskab/vandforbrug-i-hjemmet/
a. Shower and hygeine | 36%
b. Toilet flush | 27%
c. Laundry | 13%
d. Dishwashing and cleaning | 10%
e. Drinking water and cooking | 7%
f. Other | 7%
Total consumption for households in Denmark (2021) | 244846 | 1.000 m3 | www.dst.dk
Total consumption for businesses in Denmark (2021) | 720247 | 1.000 m3 | www.dst.dk
Consumption profiles
'Source description: Data in the coming graphs are aggregated data from the Triangle Area used for generalization for the Skive area. The raw data used in the aggregation is hourly and daily profiles for households throughout 2022 and 2023.
Total consumption | 10623092.515 | m3

## 2. Water Extraction
Extraction overview
General overview
- Total water extraction for Denmark (2021) | 965 | million m3 | www.dst.dk
- Public waterworks | 383.4 | million m3 | www.dst.dk
- Companies with self-extraction | 361.4 | million m3 | www.dst.dk
- Irrigation | 220.2 | million m3 | www.dst.dk
- Total water extraction for Skive (2021) | 5.3 | million m3 | www.dst.dk
- Public waterworks | 4 | million m3 | www.dst.dk
- Companies with self-extraction | 0.4 | million m3 | www.dst.dk
- Irrigation | 0.9 | million m3 | www.dst.dk

## 3. Energy Usage in Purification
Purification
Quality of the water
The quality of the water highly depends on the location and source. For ground-water extraction, see the provided sources.
Energy consumption for purification | Lower bound |  | Upper bound
Ultrafiltration (UF) | 0.2 | kWh/m3 | 1 | kWh/m3
Nanofiltration (NF) | 0.7 | kWh/m3 | 1.5 | kWh/m3
Reverse Osmosis (RO) | 1.5 | kWh/m3 | 3 | kWh/m3
Desalination | 6 | kWh/m3 | 10 | kWh/m3
Examples for usage of the numbers
Purification of total Danish consumption of water | Lower bound |  | Upper bound
- UF | 193.0186 | GWh | 965.093 | GWh
- NF | 675.5651 | GWh | 1447.6395 | GWh
- RO | 1447.6395 | GWh | 2895.279 | GWh
- Desalination | 5790.558 | GWh | 9650.93 | GWh
Possible research questions:
- Compared to a PtX-facility?
- What sources could be used for PtX?
- How much desalination is needed in a worst-case?
- How does the energy requirements compare to RE production?

## 4. Data_hourly_water_consum
year | quarter | weekday | hour | mean | unit | category | Daily profile | Hour | Consumption | Unit
2022 | Q1 | weekend | 0 | 0.029 | M3 | water_consumption |  | 0 | 0.254 | M3
2022 | Q1 | weekend | 1 | 0.031 | M3 | water_consumption |  | 1 | 0.265 | M3
2022 | Q1 | weekend | 2 | 0.032 | M3 | water_consumption |  | 2 | 0.265 | M3
2022 | Q1 | weekend | 3 | 0.032 | M3 | water_consumption |  | 3 | 0.271 | M3
2022 | Q1 | weekend | 4 | 0.033 | M3 | water_consumption |  | 4 | 0.31 | M3
2022 | Q1 | weekend | 5 | 0.034 | M3 | water_consumption |  | 5 | 0.336 | M3
2022 | Q1 | weekend | 6 | 0.032 | M3 | water_consumption |  | 6 | 0.346 | M3
2022 | Q1 | weekend | 7 | 0.035 | M3 | water_consumption |  | 7 | 0.364 | M3
2022 | Q1 | weekend | 8 | 0.04 | M3 | water_consumption |  | 8 | 0.392 | M3
2022 | Q1 | weekend | 9 | 0.047 | M3 | water_consumption |  | 9 | 0.425 | M3
2022 | Q1 | weekend | 10 | 0.047 | M3 | water_consumption |  | 10 | 0.412 | M3
2022 | Q1 | weekend | 11 | 0.045 | M3 | water_consumption |  | 11 | 0.392 | M3
2022 | Q1 | weekend | 12 | 0.043 | M3 | water_consumption |  | 12 | 0.379 | M3
2022 | Q1 | weekend | 13 | 0.042 | M3 | water_consumption |  | 13 | 0.362 | M3
2022 | Q1 | weekend | 14 | 0.04 | M3 | water_consumption |  | 14 | 0.346 | M3
2022 | Q1 | weekend | 15 | 0.039 | M3 | water_consumption |  | 15 | 0.332 | M3
2022 | Q1 | weekend | 16 | 0.04 | M3 | water_consumption |  | 16 | 0.322 | M3
2022 | Q1 | weekend | 17 | 0.038 | M3 | water_consumption |  | 17 | 0.324 | M3
2022 | Q1 | weekend | 18 | 0.038 | M3 | water_consumption |  | 18 | 0.327 | M3
2022 | Q1 | weekend | 19 | 0.036 | M3 | water_consumption |  | 19 | 0.307 | M3
2022 | Q1 | weekend | 20 | 0.032 | M3 | water_consumption |  | 20 | 0.285 | M3
2022 | Q1 | weekend | 21 | 0.031 | M3 | water_consumption |  | 21 | 0.255 | M3
2022 | Q1 | weekend | 22 | 0.028 | M3 | water_consumption |  | 22 | 0.232 | M3
2022 | Q1 | weekend | 23 | 0.028 | M3 | water_consumption |  | 23 | 0.239 | M3
2022 | Q1 | workday | 0 | 0.028 | M3 | water_consumption
2022 | Q1 | workday | 1 | 0.029 | M3 | water_consumption
2022 | Q1 | workday | 2 | 0.03 | M3 | water_consumption
2022 | Q1 | workday | 3 | 0.034 | M3 | water_consumption
2022 | Q1 | workday | 4 | 0.034 | M3 | water_consumption
2022 | Q1 | workday | 5 | 0.043 | M3 | water_consumption
2022 | Q1 | workday | 6 | 0.054 | M3 | water_consumption
2022 | Q1 | workday | 7 | 0.056 | M3 | water_consumption
2022 | Q1 | workday | 8 | 0.06 | M3 | water_consumption
2022 | Q1 | workday | 9 | 0.052 | M3 | water_consumption
2022 | Q1 | workday | 10 | 0.055 | M3 | water_consumption
2022 | Q1 | workday | 11 | 0.051 | M3 | water_consumption
2022 | Q1 | workday | 12 | 0.045 | M3 | water_consumption
2022 | Q1 | workday | 13 | 0.044 | M3 | water_consumption
2022 | Q1 | workday | 14 | 0.041 | M3 | water_consumption
2022 | Q1 | workday | 15 | 0.038 | M3 | water_consumption
2022 | Q1 | workday | 16 | 0.037 | M3 | water_consumption
2022 | Q1 | workday | 17 | 0.038 | M3 | water_consumption
2022 | Q1 | workday | 18 | 0.039 | M3 | water_consumption
2022 | Q1 | workday | 19 | 0.037 | M3 | water_consumption
2022 | Q1 | workday | 20 | 0.034 | M3 | water_consumption
2022 | Q1 | workday | 21 | 0.032 | M3 | water_consumption
2022 | Q1 | workday | 22 | 0.029 | M3 | water_consumption
2022 | Q1 | workday | 23 | 0.027 | M3 | water_consumption
2022 | Q2 | weekend | 0 | 0.033 | M3 | water_consumption
2022 | Q2 | weekend | 1 | 0.036 | M3 | water_consumption
2022 | Q2 | weekend | 2 | 0.035 | M3 | water_consumption
2022 | Q2 | weekend | 3 | 0.035 | M3 | water_consumption
2022 | Q2 | weekend | 4 | 0.038 | M3 | water_consumption
2022 | Q2 | weekend | 5 | 0.035 | M3 | water_consumption
2022 | Q2 | weekend | 6 | 0.038 | M3 | water_consumption
2022 | Q2 | weekend | 7 | 0.044 | M3 | water_consumption
2022 | Q2 | weekend | 8 | 0.048 | M3 | water_consumption
2022 | Q2 | weekend | 9 | 0.051 | M3 | water_consumption
2022 | Q2 | weekend | 10 | 0.047 | M3 | water_consumption
2022 | Q2 | weekend | 11 | 0.048 | M3 | water_consumption
2022 | Q2 | weekend | 12 | 0.048 | M3 | water_consumption
2022 | Q2 | weekend | 13 | 0.046 | M3 | water_consumption
2022 | Q2 | weekend | 14 | 0.043 | M3 | water_consumption
2022 | Q2 | weekend | 15 | 0.047 | M3 | water_consumption
2022 | Q2 | weekend | 16 | 0.043 | M3 | water_consumption
2022 | Q2 | weekend | 17 | 0.043 | M3 | water_consumption
2022 | Q2 | weekend | 18 | 0.046 | M3 | water_consumption
2022 | Q2 | weekend | 19 | 0.041 | M3 | water_consumption
2022 | Q2 | weekend | 20 | 0.036 | M3 | water_consumption
2022 | Q2 | weekend | 21 | 0.032 | M3 | water_consumption
2022 | Q2 | weekend | 22 | 0.03 | M3 | water_consumption
2022 | Q2 | weekend | 23 | 0.032 | M3 | water_consumption
2022 | Q2 | workday | 0 | 0.029 | M3 | water_consumption
2022 | Q2 | workday | 1 | 0.03 | M3 | water_consumption
2022 | Q2 | workday | 2 | 0.029 | M3 | water_consumption
2022 | Q2 | workday | 3 | 0.031 | M3 | water_consumption
2022 | Q2 | workday | 4 | 0.045 | M3 | water_consumption
2022 | Q2 | workday | 5 | 0.051 | M3 | water_consumption
2022 | Q2 | workday | 6 | 0.047 | M3 | water_consumption
2022 | Q2 | workday | 7 | 0.047 | M3 | water_consumption
2022 | Q2 | workday | 8 | 0.051 | M3 | water_consumption
2022 | Q2 | workday | 9 | 0.055 | M3 | water_consumption
2022 | Q2 | workday | 10 | 0.054 | M3 | water_consumption
2022 | Q2 | workday | 11 | 0.048 | M3 | water_consumption
2022 | Q2 | workday | 12 | 0.047 | M3 | water_consumption
2022 | Q2 | workday | 13 | 0.045 | M3 | water_consumption
2022 | Q2 | workday | 14 | 0.041 | M3 | water_consumption
2022 | Q2 | workday | 15 | 0.039 | M3 | water_consumption
2022 | Q2 | workday | 16 | 0.039 | M3 | water_consumption
2022 | Q2 | workday | 17 | 0.041 | M3 | water_consumption
2022 | Q2 | workday | 18 | 0.041 | M3 | water_consumption
2022 | Q2 | workday | 19 | 0.038 | M3 | water_consumption
2022 | Q2 | workday | 20 | 0.034 | M3 | water_consumption
2022 | Q2 | workday | 21 | 0.03 | M3 | water_consumption
2022 | Q2 | workday | 22 | 0.027 | M3 | water_consumption
2022 | Q2 | workday | 23 | 0.026 | M3 | water_consumption
2022 | Q3 | weekend | 0 | 0.039 | M3 | water_consumption
2022 | Q3 | weekend | 1 | 0.04 | M3 | water_consumption
2022 | Q3 | weekend | 2 | 0.042 | M3 | water_consumption
2022 | Q3 | weekend | 3 | 0.042 | M3 | water_consumption
2022 | Q3 | weekend | 4 | 0.042 | M3 | water_consumption
2022 | Q3 | weekend | 5 | 0.037 | M3 | water_consumption
2022 | Q3 | weekend | 6 | 0.045 | M3 | water_consumption
2022 | Q3 | weekend | 7 | 0.046 | M3 | water_consumption
2022 | Q3 | weekend | 8 | 0.051 | M3 | water_consumption
2022 | Q3 | weekend | 9 | 0.052 | M3 | water_consumption
2022 | Q3 | weekend | 10 | 0.051 | M3 | water_consumption
2022 | Q3 | weekend | 11 | 0.049 | M3 | water_consumption
2022 | Q3 | weekend | 12 | 0.054 | M3 | water_consumption
2022 | Q3 | weekend | 13 | 0.048 | M3 | water_consumption
2022 | Q3 | weekend | 14 | 0.053 | M3 | water_consumption
2022 | Q3 | weekend | 15 | 0.046 | M3 | water_consumption
2022 | Q3 | weekend | 16 | 0.044 | M3 | water_consumption
2022 | Q3 | weekend | 17 | 0.045 | M3 | water_consumption
2022 | Q3 | weekend | 18 | 0.044 | M3 | water_consumption
2022 | Q3 | weekend | 19 | 0.042 | M3 | water_consumption
2022 | Q3 | weekend | 20 | 0.039 | M3 | water_consumption
2022 | Q3 | weekend | 21 | 0.035 | M3 | water_consumption
2022 | Q3 | weekend | 22 | 0.031 | M3 | water_consumption
2022 | Q3 | weekend | 23 | 0.037 | M3 | water_consumption
2022 | Q3 | workday | 0 | 0.035 | M3 | water_consumption
2022 | Q3 | workday | 1 | 0.038 | M3 | water_consumption
2022 | Q3 | workday | 2 | 0.037 | M3 | water_consumption
2022 | Q3 | workday | 3 | 0.04 | M3 | water_consumption
2022 | Q3 | workday | 4 | 0.054 | M3 | water_consumption
2022 | Q3 | workday | 5 | 0.06 | M3 | water_consumption
2022 | Q3 | workday | 6 | 0.049 | M3 | water_consumption
2022 | Q3 | workday | 7 | 0.055 | M3 | water_consumption
2022 | Q3 | workday | 8 | 0.056 | M3 | water_consumption
2022 | Q3 | workday | 9 | 0.065 | M3 | water_consumption
2022 | Q3 | workday | 10 | 0.059 | M3 | water_consumption
2022 | Q3 | workday | 11 | 0.054 | M3 | water_consumption
2022 | Q3 | workday | 12 | 0.053 | M3 | water_consumption
2022 | Q3 | workday | 13 | 0.051 | M3 | water_consumption
2022 | Q3 | workday | 14 | 0.046 | M3 | water_consumption
2022 | Q3 | workday | 15 | 0.046 | M3 | water_consumption
2022 | Q3 | workday | 16 | 0.045 | M3 | water_consumption
2022 | Q3 | workday | 17 | 0.047 | M3 | water_consumption
2022 | Q3 | workday | 18 | 0.048 | M3 | water_consumption
2022 | Q3 | workday | 19 | 0.045 | M3 | water_consumption
2022 | Q3 | workday | 20 | 0.041 | M3 | water_consumption
2022 | Q3 | workday | 21 | 0.034 | M3 | water_consumption
2022 | Q3 | workday | 22 | 0.032 | M3 | water_consumption
2022 | Q3 | workday | 23 | 0.035 | M3 | water_consumption
2022 | Q4 | weekend | 0 | 0.035 | M3 | water_consumption
2022 | Q4 | weekend | 1 | 0.033 | M3 | water_consumption
2022 | Q4 | weekend | 2 | 0.032 | M3 | water_consumption
2022 | Q4 | weekend | 3 | 0.03 | M3 | water_consumption
2022 | Q4 | weekend | 4 | 0.033 | M3 | water_consumption
2022 | Q4 | weekend | 5 | 0.033 | M3 | water_consumption
2022 | Q4 | weekend | 6 | 0.033 | M3 | water_consumption
2022 | Q4 | weekend | 7 | 0.036 | M3 | water_consumption
2022 | Q4 | weekend | 8 | 0.041 | M3 | water_consumption
2022 | Q4 | weekend | 9 | 0.054 | M3 | water_consumption
2022 | Q4 | weekend | 10 | 0.049 | M3 | water_consumption
2022 | Q4 | weekend | 11 | 0.049 | M3 | water_consumption
2022 | Q4 | weekend | 12 | 0.043 | M3 | water_consumption
2022 | Q4 | weekend | 13 | 0.042 | M3 | water_consumption
2022 | Q4 | weekend | 14 | 0.041 | M3 | water_consumption
2022 | Q4 | weekend | 15 | 0.04 | M3 | water_consumption
2022 | Q4 | weekend | 16 | 0.038 | M3 | water_consumption
2022 | Q4 | weekend | 17 | 0.037 | M3 | water_consumption
2022 | Q4 | weekend | 18 | 0.036 | M3 | water_consumption
2022 | Q4 | weekend | 19 | 0.034 | M3 | water_consumption
2022 | Q4 | weekend | 20 | 0.037 | M3 | water_consumption
2022 | Q4 | weekend | 21 | 0.031 | M3 | water_consumption
2022 | Q4 | weekend | 22 | 0.028 | M3 | water_consumption
2022 | Q4 | weekend | 23 | 0.028 | M3 | water_consumption
2022 | Q4 | workday | 0 | 0.026 | M3 | water_consumption
2022 | Q4 | workday | 1 | 0.028 | M3 | water_consumption
2022 | Q4 | workday | 2 | 0.028 | M3 | water_consumption
2022 | Q4 | workday | 3 | 0.027 | M3 | water_consumption
2022 | Q4 | workday | 4 | 0.031 | M3 | water_consumption
2022 | Q4 | workday | 5 | 0.043 | M3 | water_consumption
2022 | Q4 | workday | 6 | 0.048 | M3 | water_consumption
2022 | Q4 | workday | 7 | 0.045 | M3 | water_consumption
2022 | Q4 | workday | 8 | 0.045 | M3 | water_consumption
2022 | Q4 | workday | 9 | 0.049 | M3 | water_consumption
2022 | Q4 | workday | 10 | 0.05 | M3 | water_consumption
2022 | Q4 | workday | 11 | 0.048 | M3 | water_consumption
2022 | Q4 | workday | 12 | 0.046 | M3 | water_consumption
2022 | Q4 | workday | 13 | 0.044 | M3 | water_consumption
2022 | Q4 | workday | 14 | 0.041 | M3 | water_consumption
2022 | Q4 | workday | 15 | 0.037 | M3 | water_consumption
2022 | Q4 | workday | 16 | 0.036 | M3 | water_consumption
2022 | Q4 | workday | 17 | 0.035 | M3 | water_consumption
2022 | Q4 | workday | 18 | 0.035 | M3 | water_consumption
2022 | Q4 | workday | 19 | 0.034 | M3 | water_consumption
2022 | Q4 | workday | 20 | 0.032 | M3 | water_consumption
2022 | Q4 | workday | 21 | 0.03 | M3 | water_consumption
2022 | Q4 | workday | 22 | 0.027 | M3 | water_consumption
2022 | Q4 | workday | 23 | 0.026 | M3 | water_consumption

## 5. Data_daily_water_consump
date | total | mean | unit | category
2022-01-01 | 16363.16 | 0.601 | M3 | water_consumption
2022-01-02 | 27656.975 | 0.711 | M3 | water_consumption
2022-01-03 | 38950.79 | 0.821 | M3 | water_consumption
2022-01-04 | 29670.96 | 0.623 | M3 | water_consumption
2022-01-05 | 29943.42 | 0.628 | M3 | water_consumption
2022-01-06 | 28901.75 | 0.606 | M3 | water_consumption
2022-01-07 | 28790.79 | 0.605 | M3 | water_consumption
2022-01-08 | 25058.15 | 0.544 | M3 | water_consumption
2022-01-09 | 25032.45 | 0.541 | M3 | water_consumption
2022-01-10 | 29386.49 | 0.616 | M3 | water_consumption
2022-01-11 | 27578.57 | 0.578 | M3 | water_consumption
2022-01-12 | 28045.26 | 0.588 | M3 | water_consumption
2022-01-13 | 28760.02 | 0.604 | M3 | water_consumption
2022-01-14 | 27194.48 | 0.571 | M3 | water_consumption
2022-01-15 | 25078.05 | 0.547 | M3 | water_consumption
2022-01-16 | 25405.82 | 0.547 | M3 | water_consumption
2022-01-17 | 29962.49 | 0.628 | M3 | water_consumption
2022-01-18 | 30044.82 | 0.63 | M3 | water_consumption
2022-01-19 | 30742.9 | 0.644 | M3 | water_consumption
2022-01-20 | 29461.13 | 0.616 | M3 | water_consumption
2022-01-21 | 28054.53 | 0.589 | M3 | water_consumption
2022-01-22 | 25602.48 | 0.56 | M3 | water_consumption
2022-01-23 | 25654.27 | 0.555 | M3 | water_consumption
2022-01-24 | 28041.78 | 0.589 | M3 | water_consumption
2022-01-25 | 28073.25 | 0.589 | M3 | water_consumption
2022-01-26 | 30333.37 | 0.636 | M3 | water_consumption
2022-01-27 | 29909.98 | 0.627 | M3 | water_consumption
2022-01-28 | 29538.22 | 0.622 | M3 | water_consumption
2022-01-29 | 25596.13 | 0.56 | M3 | water_consumption
2022-01-30 | 25122.81 | 0.543 | M3 | water_consumption
2022-01-31 | 27535.77 | 0.577 | M3 | water_consumption
2022-02-01 | 32384.15 | 0.678 | M3 | water_consumption
2022-02-02 | 28575.67 | 0.6 | M3 | water_consumption
2022-02-03 | 28313.975 | 0.595 | M3 | water_consumption
2022-02-04 | 28052.28 | 0.59 | M3 | water_consumption
2022-02-05 | 24691 | 0.549 | M3 | water_consumption
2022-02-06 | 23450.15 | 0.519 | M3 | water_consumption
2022-02-07 | 28817.39 | 0.606 | M3 | water_consumption
2022-02-08 | 30113.84 | 0.632 | M3 | water_consumption
2022-02-09 | 29057.87 | 0.611 | M3 | water_consumption
2022-02-10 | 29505.37 | 0.619 | M3 | water_consumption
2022-02-11 | 28924.83 | 0.611 | M3 | water_consumption
2022-02-12 | 24594.88 | 0.548 | M3 | water_consumption
2022-02-13 | 23750.31 | 0.534 | M3 | water_consumption
2022-02-14 | 27321.85 | 0.599 | M3 | water_consumption
2022-02-15 | 28384.42 | 0.624 | M3 | water_consumption
2022-02-16 | 28385.84 | 0.626 | M3 | water_consumption
2022-02-17 | 27403.39 | 0.606 | M3 | water_consumption
2022-02-18 | 27018.18 | 0.594 | M3 | water_consumption
2022-02-19 | 24467.49 | 0.546 | M3 | water_consumption
2022-02-20 | 25048.34 | 0.542 | M3 | water_consumption
2022-02-21 | 30733.86 | 0.645 | M3 | water_consumption
2022-02-22 | 29913.795 | 0.628 | M3 | water_consumption
2022-02-23 | 29093.73 | 0.61 | M3 | water_consumption
2022-02-24 | 28318.62 | 0.594 | M3 | water_consumption
2022-02-25 | 29443.88 | 0.618 | M3 | water_consumption
2022-02-26 | 27440.28 | 0.601 | M3 | water_consumption
2022-02-27 | 26016.02 | 0.56 | M3 | water_consumption
2022-02-28 | 29056.68 | 0.609 | M3 | water_consumption
2022-03-01 | 33418.03 | 0.699 | M3 | water_consumption
2022-03-02 | 29807.1 | 0.625 | M3 | water_consumption
2022-03-03 | 30941.74 | 0.648 | M3 | water_consumption
2022-03-04 | 27644.81 | 0.58 | M3 | water_consumption
2022-03-05 | 25426.58 | 0.556 | M3 | water_consumption
2022-03-06 | 25564.59 | 0.552 | M3 | water_consumption
2022-03-07 | 30513.57 | 0.64 | M3 | water_consumption
2022-03-08 | 29641.94 | 0.622 | M3 | water_consumption
2022-03-09 | 28512.62 | 0.599 | M3 | water_consumption
2022-03-10 | 28604.61 | 0.601 | M3 | water_consumption
2022-03-11 | 28005.52 | 0.589 | M3 | water_consumption
2022-03-12 | 25349.91 | 0.557 | M3 | water_consumption
2022-03-13 | 26037.96 | 0.561 | M3 | water_consumption
2022-03-14 | 29474.79 | 0.621 | M3 | water_consumption
2022-03-15 | 29745.72 | 0.627 | M3 | water_consumption
2022-03-16 | 29651.58 | 0.624 | M3 | water_consumption
2022-03-17 | 29532.48 | 0.622 | M3 | water_consumption
2022-03-18 | 29552.83 | 0.626 | M3 | water_consumption
2022-03-19 | 24954.92 | 0.551 | M3 | water_consumption
2022-03-20 | 25946.18 | 0.562 | M3 | water_consumption
2022-03-21 | 30884.15 | 0.651 | M3 | water_consumption
2022-03-22 | 30351.43 | 0.635 | M3 | water_consumption
2022-03-23 | 30961.87 | 0.648 | M3 | water_consumption
2022-03-24 | 30447.82 | 0.656 | M3 | water_consumption
2022-03-25 | 28815.99 | 0.605 | M3 | water_consumption
2022-03-26 | 26165.28 | 0.574 | M3 | water_consumption
2022-03-27 | 25935.05 | 0.557 | M3 | water_consumption
2022-03-28 | 29957.48 | 0.626 | M3 | water_consumption
2022-03-29 | 30227.06 | 0.632 | M3 | water_consumption
2022-03-30 | 31467.09 | 0.658 | M3 | water_consumption
2022-03-31 | 31554.65 | 0.658 | M3 | water_consumption
2022-04-01 | 30693.09 | 0.643 | M3 | water_consumption
2022-04-02 | 26021.96 | 0.567 | M3 | water_consumption
2022-04-03 | 27550.75 | 0.591 | M3 | water_consumption
2022-04-04 | 29353.67 | 0.613 | M3 | water_consumption
2022-04-05 | 30693.44 | 0.642 | M3 | water_consumption
2022-04-06 | 29384.26 | 0.615 | M3 | water_consumption
2022-04-07 | 29600.57 | 0.62 | M3 | water_consumption
2022-04-08 | 29733.36 | 0.625 | M3 | water_consumption
2022-04-09 | 25622.56 | 0.565 | M3 | water_consumption
2022-04-10 | 25097.96 | 0.558 | M3 | water_consumption
2022-04-11 | 29221.99 | 0.638 | M3 | water_consumption
2022-04-12 | 30263.83 | 0.667 | M3 | water_consumption
2022-04-13 | 29483.7 | 0.65 | M3 | water_consumption
2022-04-14 | 25295.8 | 0.589 | M3 | water_consumption
2022-04-15 | 24582.64 | 0.582 | M3 | water_consumption
2022-04-16 | 25029.12 | 0.585 | M3 | water_consumption
2022-04-17 | 24354.87 | 0.556 | M3 | water_consumption
2022-04-18 | 27877.64 | 0.607 | M3 | water_consumption
2022-04-19 | 30431.54 | 0.64 | M3 | water_consumption
2022-04-20 | 31217.54 | 0.657 | M3 | water_consumption
2022-04-21 | 31443 | 0.66 | M3 | water_consumption
2022-04-22 | 31130.06 | 0.655 | M3 | water_consumption
2022-04-23 | 27960.82 | 0.612 | M3 | water_consumption
2022-04-24 | 27546.42 | 0.593 | M3 | water_consumption
2022-04-25 | 32616.93 | 0.682 | M3 | water_consumption
2022-04-26 | 32240.8 | 0.673 | M3 | water_consumption
2022-04-27 | 32488.25 | 0.679 | M3 | water_consumption
2022-04-28 | 38041.76 | 0.795 | M3 | water_consumption
2022-04-29 | 31500.02 | 0.662 | M3 | water_consumption
2022-04-30 | 27037.3 | 0.592 | M3 | water_consumption
2022-05-01 | 28880.52 | 0.62 | M3 | water_consumption
2022-05-02 | 32534.02 | 0.679 | M3 | water_consumption
2022-05-03 | 35395.15 | 0.738 | M3 | water_consumption
2022-05-04 | 35932.29 | 0.749 | M3 | water_consumption
2022-05-05 | 34467.6 | 0.719 | M3 | water_consumption
2022-05-06 | 35946.89 | 0.753 | M3 | water_consumption
2022-05-07 | 29968.03 | 0.656 | M3 | water_consumption
2022-05-08 | 31349.77 | 0.673 | M3 | water_consumption
2022-05-09 | 36227.4 | 0.755 | M3 | water_consumption
2022-05-10 | 34829.08 | 0.728 | M3 | water_consumption
2022-05-11 | 33430.76 | 0.701 | M3 | water_consumption
2022-05-12 | 32982.55 | 0.693 | M3 | water_consumption
2022-05-13 | 28129.65 | 0.625 | M3 | water_consumption
2022-05-14 | 27504.51 | 0.622 | M3 | water_consumption
2022-05-15 | 29610.23 | 0.641 | M3 | water_consumption
2022-05-16 | 32645.62 | 0.686 | M3 | water_consumption
2022-05-17 | 33694.85 | 0.707 | M3 | water_consumption
2022-05-18 | 36506.71 | 0.764 | M3 | water_consumption
2022-05-19 | 34383.79 | 0.722 | M3 | water_consumption
2022-05-20 | 33987.22 | 0.716 | M3 | water_consumption
2022-05-21 | 30634.11 | 0.676 | M3 | water_consumption
2022-05-22 | 30560.95 | 0.66 | M3 | water_consumption
2022-05-23 | 34111.08 | 0.714 | M3 | water_consumption
2022-05-24 | 33117.68 | 0.698 | M3 | water_consumption
2022-05-25 | 33879.58 | 0.713 | M3 | water_consumption
2022-05-26 | 29113.69 | 0.651 | M3 | water_consumption
2022-05-27 | 27683.79 | 0.625 | M3 | water_consumption
2022-05-28 | 35687.36 | 0.815 | M3 | water_consumption
2022-05-29 | 27052.7 | 0.586 | M3 | water_consumption
2022-05-30 | 32943.33 | 0.691 | M3 | water_consumption
2022-05-31 | 32501.43 | 0.682 | M3 | water_consumption
2022-06-01 | 33104.46 | 0.694 | M3 | water_consumption
2022-06-02 | 34006.04 | 0.716 | M3 | water_consumption
2022-06-03 | 30785.14 | 0.652 | M3 | water_consumption
2022-06-04 | 28004.93 | 0.632 | M3 | water_consumption
2022-06-05 | 27694.77 | 0.629 | M3 | water_consumption
2022-06-06 | 27320.98 | 0.594 | M3 | water_consumption
2022-06-07 | 30998.26 | 0.653 | M3 | water_consumption
2022-06-08 | 31650.36 | 0.667 | M3 | water_consumption
2022-06-09 | 33030.34 | 0.695 | M3 | water_consumption
2022-06-10 | 31309.44 | 0.661 | M3 | water_consumption
2022-06-11 | 28097.09 | 0.621 | M3 | water_consumption
2022-06-12 | 27972.49 | 0.605 | M3 | water_consumption
2022-06-13 | 33157.77 | 0.698 | M3 | water_consumption
2022-06-14 | 32777.04 | 0.691 | M3 | water_consumption
2022-06-15 | 32880.32 | 0.693 | M3 | water_consumption
2022-06-16 | 33641.15 | 0.708 | M3 | water_consumption
2022-06-17 | 32348.23 | 0.685 | M3 | water_consumption
2022-06-18 | 27926.16 | 0.618 | M3 | water_consumption
2022-06-19 | 26751.87 | 0.581 | M3 | water_consumption
2022-06-20 | 31353.79 | 0.662 | M3 | water_consumption
2022-06-21 | 34061.07 | 0.72 | M3 | water_consumption
2022-06-22 | 32635.88 | 0.69 | M3 | water_consumption
2022-06-23 | 34729.09 | 0.733 | M3 | water_consumption
2022-06-24 | 34015.35 | 0.723 | M3 | water_consumption
2022-06-25 | 28965.89 | 0.645 | M3 | water_consumption
2022-06-26 | 29761.93 | 0.651 | M3 | water_consumption
2022-06-27 | 32560.76 | 0.699 | M3 | water_consumption
2022-06-28 | 29892.78 | 0.641 | M3 | water_consumption
2022-06-29 | 31670.14 | 0.678 | M3 | water_consumption
2022-06-30 | 33272.02 | 0.711 | M3 | water_consumption
2022-07-01 | 30009.71 | 0.65 | M3 | water_consumption
2022-07-02 | 26954.92 | 0.604 | M3 | water_consumption
2022-07-03 | 26150.64 | 0.586 | M3 | water_consumption
2022-07-04 | 33895.49 | 0.74 | M3 | water_consumption
2022-07-05 | 31270.29 | 0.692 | M3 | water_consumption
2022-07-06 | 31873.08 | 0.707 | M3 | water_consumption
2022-07-07 | 31582.04 | 0.702 | M3 | water_consumption
2022-07-08 | 30620.73 | 0.682 | M3 | water_consumption
2022-07-09 | 26151.61 | 0.611 | M3 | water_consumption
2022-07-10 | 26737.07 | 0.625 | M3 | water_consumption
2022-07-11 | 32070.93 | 0.732 | M3 | water_consumption
2022-07-12 | 32353.83 | 0.747 | M3 | water_consumption
2022-07-13 | 32798.59 | 0.759 | M3 | water_consumption
2022-07-14 | 30117.72 | 0.699 | M3 | water_consumption
2022-07-15 | 28318.63 | 0.653 | M3 | water_consumption
2022-07-16 | 25781.59 | 0.615 | M3 | water_consumption
2022-07-17 | 25730.17 | 0.615 | M3 | water_consumption
2022-07-18 | 30638.74 | 0.718 | M3 | water_consumption
2022-07-19 | 32958.04 | 0.778 | M3 | water_consumption
2022-07-20 | 33477.16 | 0.788 | M3 | water_consumption
2022-07-21 | 30841.6 | 0.724 | M3 | water_consumption
2022-07-22 | 28293.54 | 0.668 | M3 | water_consumption
2022-07-23 | 23669.58 | 0.572 | M3 | water_consumption
2022-07-24 | 25768.07 | 0.615 | M3 | water_consumption
2022-07-25 | 29232.47 | 0.686 | M3 | water_consumption
2022-07-26 | 28606.35 | 0.672 | M3 | water_consumption
2022-07-27 | 28965.64 | 0.678 | M3 | water_consumption
2022-07-28 | 29432.17 | 0.682 | M3 | water_consumption
2022-07-29 | 28641.53 | 0.657 | M3 | water_consumption
2022-07-30 | 25558.48 | 0.595 | M3 | water_consumption
2022-07-31 | 27147.93 | 0.619 | M3 | water_consumption
2022-08-01 | 36369.65 | 0.797 | M3 | water_consumption
2022-08-02 | 30241.62 | 0.668 | M3 | water_consumption
2022-08-03 | 30712.22 | 0.675 | M3 | water_consumption
2022-08-04 | 32562.84 | 0.711 | M3 | water_consumption
2022-08-05 | 30008.04 | 0.656 | M3 | water_consumption
2022-08-06 | 26439.34 | 0.594 | M3 | water_consumption
2022-08-07 | 28305.66 | 0.622 | M3 | water_consumption
2022-08-08 | 34361.24 | 0.733 | M3 | water_consumption
2022-08-09 | 33774.41 | 0.722 | M3 | water_consumption
2022-08-10 | 35681.11 | 0.762 | M3 | water_consumption
2022-08-11 | 36030.56 | 0.768 | M3 | water_consumption
2022-08-12 | 34626.75 | 0.739 | M3 | water_consumption
2022-08-13 | 31333.09 | 0.7 | M3 | water_consumption
2022-08-14 | 31458.32 | 0.686 | M3 | water_consumption
2022-08-15 | 34367.21 | 0.729 | M3 | water_consumption
2022-08-16 | 33713.45 | 0.717 | M3 | water_consumption
2022-08-17 | 33213.22 | 0.706 | M3 | water_consumption
2022-08-18 | 31883.53 | 0.678 | M3 | water_consumption
2022-08-19 | 31416.22 | 0.669 | M3 | water_consumption
2022-08-20 | 27311.69 | 0.607 | M3 | water_consumption
2022-08-21 | 28215.7 | 0.613 | M3 | water_consumption
2022-08-22 | 32460.28 | 0.686 | M3 | water_consumption
2022-08-23 | 32681.3 | 0.691 | M3 | water_consumption
2022-08-24 | 34583.22 | 0.731 | M3 | water_consumption
2022-08-25 | 34517.51 | 0.73 | M3 | water_consumption
2022-08-26 | 31859.43 | 0.677 | M3 | water_consumption
2022-08-27 | 26350.79 | 0.585 | M3 | water_consumption
2022-08-28 | 33347.45 | 0.724 | M3 | water_consumption
2022-08-29 | 33301.38 | 0.701 | M3 | water_consumption
2022-08-30 | 31692.98 | 0.668 | M3 | water_consumption
2022-08-31 | 32465.8 | 0.683 | M3 | water_consumption
2022-09-01 | 33238.62 | 0.698 | M3 | water_consumption
2022-09-02 | 29685.32 | 0.627 | M3 | water_consumption
2022-09-03 | 25833.07 | 0.573 | M3 | water_consumption
2022-09-04 | 27072.72 | 0.585 | M3 | water_consumption
2022-09-05 | 35093.33 | 0.737 | M3 | water_consumption
2022-09-06 | 34357.73 | 0.723 | M3 | water_consumption
2022-09-07 | 35572.32 | 0.749 | M3 | water_consumption
2022-09-08 | 29877.81 | 0.63 | M3 | water_consumption
2022-09-09 | 33117.97 | 0.7 | M3 | water_consumption
2022-09-10 | 23668.69 | 0.524 | M3 | water_consumption
2022-09-11 | 25406.01 | 0.55 | M3 | water_consumption
2022-09-12 | 30204.76 | 0.636 | M3 | water_consumption
2022-09-13 | 30213.75 | 0.637 | M3 | water_consumption
2022-09-14 | 30406.19 | 0.641 | M3 | water_consumption
2022-09-15 | 30232.57 | 0.637 | M3 | water_consumption
2022-09-16 | 28831.37 | 0.611 | M3 | water_consumption
2022-09-17 | 25159.18 | 0.559 | M3 | water_consumption
2022-09-18 | 25253.53 | 0.548 | M3 | water_consumption
2022-09-19 | 29614.16 | 0.624 | M3 | water_consumption
2022-09-20 | 36634.72 | 0.772 | M3 | water_consumption
2022-09-21 | 29643.93 | 0.625 | M3 | water_consumption
2022-09-22 | 29449.07 | 0.62 | M3 | water_consumption
2022-09-23 | 28178.2 | 0.597 | M3 | water_consumption
2022-09-24 | 23846.39 | 0.529 | M3 | water_consumption
2022-09-25 | 24457.89 | 0.53 | M3 | water_consumption
2022-09-26 | 28381.85 | 0.597 | M3 | water_consumption
2022-09-27 | 29299.22 | 0.617 | M3 | water_consumption
2022-09-28 | 31355.1 | 0.659 | M3 | water_consumption
2022-09-29 | 29618.28 | 0.622 | M3 | water_consumption
2022-09-30 | 29985.4 | 0.632 | M3 | water_consumption
2022-10-01 | 28021.21 | 0.616 | M3 | water_consumption
2022-10-02 | 24818.88 | 0.535 | M3 | water_consumption
2022-10-03 | 32522.46 | 0.68 | M3 | water_consumption
2022-10-04 | 28613.22 | 0.601 | M3 | water_consumption
2022-10-05 | 29576.5 | 0.621 | M3 | water_consumption
2022-10-06 | 28832.13 | 0.605 | M3 | water_consumption
2022-10-07 | 27218.59 | 0.573 | M3 | water_consumption
2022-10-08 | 24365.23 | 0.536 | M3 | water_consumption
2022-10-09 | 24907.18 | 0.538 | M3 | water_consumption
2022-10-10 | 29675.18 | 0.623 | M3 | water_consumption
2022-10-11 | 30230.04 | 0.635 | M3 | water_consumption
2022-10-12 | 30614.54 | 0.644 | M3 | water_consumption
2022-10-13 | 29384.59 | 0.618 | M3 | water_consumption
2022-10-14 | 28261.72 | 0.598 | M3 | water_consumption
2022-10-15 | 24126.65 | 0.537 | M3 | water_consumption
2022-10-16 | 24402.99 | 0.546 | M3 | water_consumption
2022-10-17 | 30732.69 | 0.674 | M3 | water_consumption
2022-10-18 | 25811.39 | 0.568 | M3 | water_consumption
2022-10-19 | 25023.64 | 0.549 | M3 | water_consumption
2022-10-20 | 24988.52 | 0.549 | M3 | water_consumption
2022-10-21 | 24688.12 | 0.543 | M3 | water_consumption
2022-10-22 | 22974.59 | 0.513 | M3 | water_consumption
2022-10-23 | 24509.28 | 0.531 | M3 | water_consumption
2022-10-24 | 27738.96 | 0.583 | M3 | water_consumption
2022-10-25 | 29956.66 | 0.628 | M3 | water_consumption
2022-10-26 | 27785.96 | 0.582 | M3 | water_consumption
2022-10-27 | 28134.17 | 0.588 | M3 | water_consumption
2022-10-28 | 29838.38 | 0.625 | M3 | water_consumption
2022-10-29 | 23953.74 | 0.521 | M3 | water_consumption
2022-10-30 | 24462.6 | 0.525 | M3 | water_consumption
2022-10-31 | 29044.82 | 0.604 | M3 | water_consumption
2022-11-01 | 29918.39 | 0.623 | M3 | water_consumption
2022-11-02 | 27610.58 | 0.577 | M3 | water_consumption
2022-11-03 | 28173.8 | 0.587 | M3 | water_consumption
2022-11-04 | 27127.76 | 0.569 | M3 | water_consumption
2022-11-05 | 24236.4 | 0.528 | M3 | water_consumption
2022-11-06 | 23803.43 | 0.512 | M3 | water_consumption
2022-11-07 | 28175.06 | 0.588 | M3 | water_consumption
2022-11-08 | 29210.89 | 0.611 | M3 | water_consumption
2022-11-09 | 29491.01 | 0.616 | M3 | water_consumption
2022-11-10 | 28657.75 | 0.599 | M3 | water_consumption
2022-11-11 | 28825.7 | 0.606 | M3 | water_consumption
2022-11-12 | 23968.19 | 0.526 | M3 | water_consumption
2022-11-13 | 23866.84 | 0.513 | M3 | water_consumption
2022-11-14 | 28072.17 | 0.586 | M3 | water_consumption
2022-11-15 | 28145.59 | 0.588 | M3 | water_consumption
2022-11-16 | 28614.86 | 0.598 | M3 | water_consumption
2022-11-17 | 27952.57 | 0.583 | M3 | water_consumption
2022-11-18 | 26727.97 | 0.56 | M3 | water_consumption
2022-11-19 | 23649.3 | 0.516 | M3 | water_consumption
2022-11-20 | 24523.03 | 0.526 | M3 | water_consumption
2022-11-21 | 30020.42 | 0.627 | M3 | water_consumption
2022-11-22 | 30365.15 | 0.633 | M3 | water_consumption
2022-11-23 | 28717.89 | 0.599 | M3 | water_consumption
2022-11-24 | 29003.59 | 0.605 | M3 | water_consumption
2022-11-25 | 27495.93 | 0.577 | M3 | water_consumption
2022-11-26 | 24674.91 | 0.536 | M3 | water_consumption
2022-11-27 | 25819.4 | 0.554 | M3 | water_consumption
2022-11-28 | 30171.35 | 0.629 | M3 | water_consumption
2022-11-29 | 29183.73 | 0.609 | M3 | water_consumption
2022-11-30 | 29621.55 | 0.618 | M3 | water_consumption
2022-12-01 | 29518.86 | 0.615 | M3 | water_consumption
2022-12-02 | 26492.43 | 0.554 | M3 | water_consumption
2022-12-03 | 24268.98 | 0.528 | M3 | water_consumption
2022-12-04 | 24590.79 | 0.526 | M3 | water_consumption
2022-12-05 | 29102.95 | 0.606 | M3 | water_consumption
2022-12-06 | 30221.76 | 0.629 | M3 | water_consumption
2022-12-07 | 30067.04 | 0.626 | M3 | water_consumption
2022-12-08 | 30370.37 | 0.632 | M3 | water_consumption
2022-12-09 | 27776.73 | 0.581 | M3 | water_consumption
2022-12-10 | 24469.07 | 0.531 | M3 | water_consumption
2022-12-11 | 25404.51 | 0.544 | M3 | water_consumption
2022-12-12 | 29386.24 | 0.612 | M3 | water_consumption
2022-12-13 | 29108.99 | 0.606 | M3 | water_consumption
2022-12-14 | 29904.08 | 0.623 | M3 | water_consumption
2022-12-15 | 29626.89 | 0.616 | M3 | water_consumption
2022-12-16 | 28445.63 | 0.593 | M3 | water_consumption
2022-12-17 | 24451.4 | 0.529 | M3 | water_consumption
2022-12-18 | 25407.64 | 0.546 | M3 | water_consumption
2022-12-19 | 30392.03 | 0.634 | M3 | water_consumption
2022-12-20 | 28777.14 | 0.601 | M3 | water_consumption
2022-12-21 | 27056.18 | 0.566 | M3 | water_consumption
2022-12-22 | 26514.13 | 0.558 | M3 | water_consumption
2022-12-23 | 25184.17 | 0.54 | M3 | water_consumption
2022-12-24 | 21796.47 | 0.504 | M3 | water_consumption
2022-12-25 | 19998.14 | 0.465 | M3 | water_consumption
2022-12-26 | 20545.17 | 0.462 | M3 | water_consumption
2022-12-27 | 21562.18 | 0.471 | M3 | water_consumption
2022-12-28 | 22993.56 | 0.5 | M3 | water_consumption
2022-12-29 | 24129.62 | 0.523 | M3 | water_consumption
2022-12-30 | 23151.81 | 0.502 | M3 | water_consumption
2022-12-31 | 22266.18 | 0.501 | M3 | water_consumption